## Slide 1: Linear Error Analysis An important tool for performance analyses
Jochen Landgraf

## Slide 2: The 1.6 Spectral Range
Relevant telluric absorber:
CO2
CH4
H2O
Molecular absorption cross sections can be taken from HITRAN data base
Atmospheric concentration to be retrieved from the observation

## Slide 3: The Forward Model
A forward model simulates the measurement (without noise) for a given state of the atmosphere
Non-scattering radiative transfer
Assume an atmospheric concentration profile of CH4, CO2 and H2O
Discretize the model atmosphere in N layer
Calculate monochromatic transmission by
with and
Assume Lambertian reflection at the Earth surface and calculate radiance at TOA
where and are the cosine of SZA and VZA and is the Lambertian albedo.

## Slide 4: The Forward Model (2)
The Instrument Model
Instrument spectral response function FWHM describes instrument spectral resolution)
The forward model depends on the atmospheric state which is described by
  Vertical profile of CH4 scaling factor times prior profile total column
  Vertical profile of CO2 scaling factor times prior profile total column
  Vertical profile of H2O scaling factor times prior profile total column
  Surface albedo incl. spectral dependence polynomial approximation
  This defines the state vector

## Slide 5: Least squares fit - Inversion of the forward model
So we can compare a measurement with a forward model
with
To find a solution for the minimalization problem, we linearize the forward model by a Taylor expansion in the parameters to be retrieved
In linear approximation the forward model writes:
Define a ’new’ type of measurement vector, which contains the original measurement and model information defined at

## Slide 6: Least squares fit - Error analysis
In the linear approximation the minimalization problem reads
This can be solved in a straight forward manner. yields
Using the gain matrix notation
we get
Error propagation can be estimated by for a specific spectral error
For noise propagation (SNR analysis) we use

## Slide 7
Gauss-Newton Iteration
When a forward model is non-linear in a parameter x, we have to set up an iterative approach.
The aim is to find the minimum of the cost function at

## Slide 8
Gauss-Newton Iteration
When a forward model is non-linear in a parameter x, we have to set up an iterative approach
The aim is to find the minimum of the cost function at

## Slide 9
Gauss-Newton Iteration
When a forward model is non-linear in a parameter x, we have to set up an iterative approach
The aim is to find the minimum of the cost function at

## Slide 10
Gauss-Newton Iteration
When a forward model is non-linear in a parameter x, we have to set up an iterative approach
The aim is to find the minimum of the cost function at

## Slide 11: Linear error analysis: Final remarks
For simulated measurements
where is simulated Poisson noise with measurement covariance , we do
already know the solution.
We can use as expansion point and assume that we are in the ‘last’ step of the Gauss-Newton iteration.
Thus, we can estimate error propagation by
  for specific spectral errors (e.g. detector offset, stray light, …)
  G for SNR analysis